## Slide 1: Industrial Gas Leakage Detector with Solutions
Mohammed Kaif .S. Shaikh

## Slide 2: Introduction
Industrial gases like LPG, hydrogen, and carbon dioxide are widely used in industries and homes.
However, gas leakage can cause serious accidents such as fires and health hazards.
To solve this problem, we developed a low-cost IoT-based Gas Leakage Detection System.
It uses gas sensors and NodeMCU ESP8266 to detect leaks in real-time and send alerts via ThingSpeak.
This system improves safety by providing early warnings and preventing disasters.

## Slide 3: Statement of problem
Problem Statement:
Gas leaks in industries and homes are highly dangerous
Existing systems are costly and lack real-time alerts
No proper solution guidance during leakage
Need of System:
Instant gas detection
Real-time alerts via Wi-Fi
Provide safety actions
Prevent accidents & health risks

## Slide 4: Objectives
Detect gas leakage and alert users instantly
Increase awareness about gas hazards
Monitor real-time sensor data
Provide safety solutions via ThingSpeak
Build a low-cost and low-power system
Ensure quick response to prevent accidents
OBJECTIVE:

## Slide 5: Methodology
Components Used
Arduino UNO – Main controller
MQ-5 Sensor – Gas detection
NodeMCU (ESP8266) – Wi-Fi & data transfer
Buzzer & LED – Alert system
Relay Module – Controls exhaust fan
Exhaust Fan – Ventilation
Jumper Wires – Connections
Power Supply – System power
Software & Tools
Arduino IDE – Programming
ThingSpeak – Data monitoring & alerts
Web Dashboard – Live gas status

## Slide 6: Projected outcomes
Expected Outcomes
Fully functional IoT-based gas leakage detection system.
Real-time alerts via Gmail on gas detection through ThingSpeak.
Buzzer & LED for instant local warning.
Automatic exhaust fan activation for safety .
Dashboard for live monitoring & graphical analysis .
Helps in preventing accidents and ensuring safety.

## Slide 7: CONCLUSION & FUTURE SCOPE
CONCLUSION:
System is useful and cost-effective
Helps improve safety
FUTURE SCOPE:
Mobile app integration
Auto gas shut-off system
Automatic Fire extinguisher,in case fire is erupted

## Slide 8: Thank you